## Furniture
Item | Manufacturer | Model | Number of Units/Qty | Total Area (m2) | Emission Factor | Unit | Description | Source | Manufacturer 2
Visitor's Chair | Viccarbe Habitat S.L. |  | 16 | 1 | 70.7 | kgCO2eq |  |  | AFC
Sofa |  | L shaped | 1
Center Table |  | Rectangular | 1
Side Table |  |  | 1
Sofa | Viccarbe Habitat S.L. |  | 1 | 1 | 28.9 | kgCO2eq
Center Table |  |  | 1
Chair |  |  | 2
Table |  | Square | 1
Chair |  |  | 6
Cafe Table | Viccarbe Habitat S.L. | Round | 2 | 1 | 34.8 | kgCO2eq
Cafe Table |  | Rectangular | 4
Cafe Table |  | Square | 1
Cafe Chair |  |  | 19
Cafe Sofa |  |  | 1
Chair | Viccarbe Habitat S.L. |  | 6 | 1 | 70.7 | kgCO2eq
Sofa |  |  | 1
Center Table |  |  | 1
Chair |  | Low Chair | 3
Lamp |  |  | 1
Chair | Viccarbe Habitat S.L. |  | 8 | 1 | 12.3 | kgCO2eq
Console |  |  | 1
Static WORKSTATION | AFC |  | 60 | 1 | 173.15 | KgCO2eq |  |  | AFC
HAT WORKSTATION | Featherlite |  | 8 | 1 | 92 | KgCO2eq. |  |  | AFC
Pedestal | HNI (Kokuyo India) |  | 8 | 0.353 | 769 | KgCO2eq/m3 |  |  | AFC
Staff Chair | HNI (Kokuyo India) | With Head support | 8 | 1 | 70.8 | kgCO2eq |  |  | Featherlite
Staff Chair | HNI (Kokuyo India) |  | 61 | 1 | 71.8 | kgCO2eq |  |  | Featherlite
Staff Chair | HNI (Kokuyo India) |  | 4 | 1 | 72.8 | kgCO2eq |  |  | Featherlite
Boardroom Chairs |  |  | 12 | [5 empty] | Featherlite

## C&I
Item | Manufacturer | Model | Number of Units/Qty | Total Area (m2) | Emission Factor | Unit | Description | Source | Manufacturer 2
AAC Block | YTONG |  | 1 | 11.44 | 124 | kgCO2eq/m3 |  |  | HIL
RCC Lintel | Wienerberger |  | 1 | 4.62 | 2.85 | kgCO2eq/m
MS Bar | TATA | 8mm dia | 4 | 2.68 | 2.73 | kgCO2eq/kg |  |  | Jindal
Cement | UltraTech | OPC | 1 | 6.44 | 0.996 | kgCO2eq/kg |  |  | UltraTech
Waterproofing | Penetron Products Pvt. Ltd. |  | 1 | 134.91 | 0.726 | KgCO2eq/kg |  |  | Dr.Fixit
Cement | UltraTech | OPC | 1 | 14190.15 | 0.996 | kgCO2eq/kg |  |  | UltraTech
Cement | UltraTech | OPC | 1 | 1118.88 | 0.996 | kgCO2eq/kg |  |  | UltraTech
Self levelling compound | Adda Byggkjemi AS |  | 1 | 2964.93 | 0.2 | kgCO2eq/kg |  |  | Pidilte
Cement | UltraTech | OPC | 1 | 1175.85 | 0.996 | kgCO2eq/kg |  |  | UltraTech
POP | Saint Gobain |  | 1 | 3757.64 | 0.041 | kgCO2eq/kg |  |  | Sakarni
Tiles | Alusid | 1200mm x 600mm x 10mm | 1 | 211.17 | 6.09 | kgCO2eq/m2 |  |  | Kajaria
Tiles | Alusid | 1800mm x 1200mm x 10mm | 1 | 94.07 | 6.09 | kgCO2eq/m2 |  |  | Kajaria
Tiles | Alusid | 1800mm x 1200mm x 8mm | 1 | 129.05 | 6.09 | kgCO2eq/m2 |  |  | Kajaria
Vinyl Flooring | Interface | 2mm | 1 | 25.3 | 9.13 | kgCO2eq/m2 |  |  | Merino
Carpet | Milliken & Company |  | 1 | 100 | 19.6 | kgCO2eq/m2 |  |  | Milliken & Company
Carpet | Welspun |  | 1 | 362 | 22.728 | kgCO2eq/m2 |  |  | Welspun
Raised flooring | AET Building Products India Private Limited |  | 1 | 8.32 | 48.2 | kgCO2eq/m2 |  |  | Sundream group
Italian Marble |  | Burbeery grey | 1 | 162.8
Aluminium Skirting | GuangDong JMA |  | 1 | 61.68 | 8 | kgCO2eq/kg |  |  | Bottomline
Granite | Yantai Profstone |  | 1 | 27.45 | 0.0502 | kgCO2eq/kg |  |  | Petrosstone
Granite | Yantai Profstone | 12mm thk | 1 | 529.97 | 0.0502 | kgCO2eq/kg |  |  | Petrosstone
Plyboard | Somani Ply | 19mm thk | 1 | 0.31 | -415 | kgCO2eq/m3 |  |  | Century
Granite | Yantai Profstone | 18mm- 20mm | 1 | 237.6 | 0.0502 | kgCO2eq/kg |  |  | Petrosstone
Cement | UltraTech | OPC | 1 | 23.76 | 0.996 | kgCO2eq/kg |  |  | UltraTech
Plyboard | Somani Ply | 19mm thk | 1 | 0.08 | -415 | kgCO2eq/m3 |  |  | Century
GI partition |  |  | 1 | 538.32 |  |  |  |  | Gyproc
Glasswool | Saint Gobain |  | 1 | 538.32 | 3.42 | kgCO2eq/m2 |  |  | UP Twiga
Aluminium frame | Gemino System |  | 1 | 27.5 | 110 | kgCO2eq/m2 |  |  | Geze
Gypsum Board | Saint Gobain |  | 1 | 1507.31 | 3.35 | kgCO2eq/m2 |  |  | Gyproc
Plyboard | SomaniPly | 6mm thk | 1 | 0.65 | -415 | kgCO2eq/m3 |  |  | Century
Plyboard | SomaniPly | 12mm thk | 1 | 3.04 | -415 | kgCO2eq/m3 |  |  | Century
BWP Plyboard | SomaniPly | 12mm thk | 1 | 2.58 | -415 | kgCO2eq/m3 |  |  | Century
Plyboard | SomaniPly | 19mm thk | 1 | 0.74 | -415 | kgCO2eq/m3 |  |  | Century
Laminate | Century | 1mm thk | 1 | 253.56 | 1.49 | kgCO2eq/m2 |  |  | Century
Lacquered Glass | Saint Gobain | 6mm thk | 1 | 108.57 | 17 | kgCO2eq/m2 |  |  | Saint Gobain
MDF | Finsa | 12mm thk | 1 | 0.46 | -681 | kgCO2eq/m3 |  |  | Greenply
BWP Plyboard | SomaniPly | 12mm thk | 1 | 0.14 | -415 | kgCO2eq/m3 |  |  | Century
Acoustic Panel | Saint Gobain | 1200x2440x9mm | 1 | 74.19 | 3.02 | kgCO2eq/m2 |  |  | Continuum
Wallpaper | IGI – The Global Wallcoverings Association |  | 1 | 86.25 | 0.39 | kgCO2eq/m2
Plyboard | SomaniPly | 19mm thk | 1 | 5.36 | -415 | kgCO2eq/m3 |  |  | Century
Plyboard | SomaniPly | 19mm thk | 1 | 0.18 | -415 | kgCO2eq/m3 |  |  | Century
Laminate | Century | 1mm thk | 1 | 30.8 | 1.49 | kgCO2eq/m2 |  |  | Century
Mirror | Saint Gobain |  | 1 | 6.6 | 32.6 | kgCO2eq/m2 |  |  | Modiguard
Plyboard | SomaniPly | 12mm thk | 1 | 0.08 | -415 | kgCO2eq/m3 |  |  | Century
Plyboard | SomaniPly | 6mm thk | 1 | 0.1 | -415 | kgCO2eq/m3 |  |  | Century
Plyboard | SomaniPly | 25mm thk | 1 | 0.17 | -415 | kgCO2eq/m3 |  |  | Century
Laminate | Century | 1mm thk | 1 | 6.6 | 1.49 | kgCO2eq/m2 |  |  | Century
Plyboard | SomaniPly | 12mm thk | 1 | 0.2 | -415 | kgCO2eq/m3 |  |  | Century
Laminate | Century | 1mm thk | 1 | 16.5 | 1.49 | kgCO2eq/m2 |  |  | Century
Plyboard | SomaniPly | 19mm thk | 1 | 0.59 | -415 | kgCO2eq/m3 |  |  | Century
Plyboard | SomaniPly | 8mm thk | 1 | 0.25 | -415 | kgCO2eq/m3 |  |  | Century
Plyboard | SomaniPly | 19mm thk | 1 | 0.9 | -415 | kgCO2eq/m3 |  |  | Century
Plyboard | SomaniPly | 8mm thk | 1 | 0.38 | -415 | kgCO2eq/m3 |  |  | Century
Plyboard | SomaniPly | 19mm thk | 1 | 0.31 | -415 | kgCO2eq/m3 |  |  | Century
Plyboard | SomaniPly | 8mm thk | 1 | 0.13 | -415 | kgCO2eq/m3 |  |  | Century
Emulsion Paint | Berger |  | 1 | 221.49 | 0.706 | kgCO2eq/l |  |  | Berger
Putty | Asian Paints |  | 1 | 1315.67 | 0.674 | kgCO2eq/ kg |  |  | JK Birla
Emulsion Paint | Berger |  | 1 | 165.6 | 0.706 | kgCO2eq/l |  |  | Berger
Putty | Asian Paints |  | 1 | 983.66 | 0.674 | kgCO2eq/ kg |  |  | JK Birla
Emulsion Paint | Berger |  | 1 | 23.83 | 0.706 | kgCO2eq/l |  |  | Berger
Texture Paint | Asian Paints |  | 1 | 100 | 2.84 | kgCO2eq/m2 |  |  | Berger
Putty | Asian Paints |  | 1 | 62 | 0.674 | kgCO2eq/ kg |  |  | JK Birla
Graphic Paint |  |  | 1 | 55 |  |  |  |  | Berger
Duco Paint |  |  | 1 | 38.5 |  |  |  |  | Berger
T-Profile | Elite Extrusion LLC. |  | 1 | 4.29 | 6.66 | kgCO2eq/kg |  |  | Bottomline
Aluminium Corner Guard | Elite Extrusion LLC. |  | 1 | 43.51 | 6.66 | kgCO2eq/kg |  |  | Bottomline
Aluminium U-Profile | Elite Extrusion LLC. |  | 1 | 6.27 | 6.66 | kgCO2eq/kg |  |  | Bottomline
Air Transfer Grill | TROX |  | 7 | 1 | 13.6 | kgCO2eq
MS Section | Shri Bajrang Power and Ispat Limited |  | 2 | 715 | 1.57 | KgCO2eq/kg |  |  | Jindal
Plyboard | SomaniPly | 18mm | 3 | 0.03 | -415 | kgCO2eq/m3 |  |  | Century
Laminate | Century | 1mm thk | 1 | 1.74 | 1.49 | kgCO2eq/m2 |  |  | Century
Toughened Glass | Glaseksperten A/S | 12mm thk | 16 | 1.62 | 33.7 | kgCO2eq/m2 |  |  | Saint Gobain
GI Ceiling System | Saint Gobain |  | 10 | 812.14 | 3.03 | kgCO2eq/kg |  |  | Gyproc
Gypsum Board | Saint Gobain |  | 30 | 6.93 | 3.35 | kgCO2eq/m2 |  |  | Gyproc
Gypsum Board | Saint Gobain |  | 3 | 31.19 | 3.35 | kgCO2eq/m2 |  |  | Gyproc
Baffle Ceiling |  |  | 12 | 27.29 |  |  |  |  | Tranquil
GI Ceiling framing | Saint Gobain |  | 16 | 65 | 3.03 | kgCO2eq/kg |  |  | Gyproc
Acoustic Panel | Saint Gobain |  | 8 | 65 | 3.02 | kgCO2eq/m2 |  |  | Tranquil
Designer Ceiling | Armstrong |  | 1 | 15 | 77.495 | kgCO2eq/ m2 |  |  | USG Knauf
Double Glazed Partition | Gemino |  | 1 | 112.17 | 142 | kgCO2eq/m2 |  |  | Bottomline
Toughened Glass | Glaseksperten A/S | 10mm thk | 1 | 4.32 | 33.7 | kgCO2eq/m2 |  |  | Saint Gobain
Glazed Door | Optima |  | 1 | 48 | 117 | kgCO2eq/m2 |  |  | Bottomline
Fire Rated Door | Assa Abloy |  | 2 | 1 | 108 | kgCO2eq |  |  | Shakti Hormann
Wooden fire Door |  |  | 3 | 1 |  |  |  |  | Shakti Hormann
Aluminium frame | Gemino System |  | 1 | 0.44 | 110 | kgCO2eq/m2 |  |  | Geze
Toughened Glass | Glaseksperten A/S | 10mm thk | 1 | 2.4 | 33.7 | kgCO2eq/m2 |  |  | Saint Gobain
Roller Blind | Nerli Gruppen Poland sp. z o.o. |  | 1 | 122.1 | 61.4 | kgCO2eq/m2 |  |  | Deck
Blackout Blind |  |  | 1 | 30.8 |  |  |  |  | Deck
Motor for Blinds | Nice |  | 32 | 1 | 6.35 | kgCO2eq |  |  | Somfy
Motor Remote |  |  | 16 | 1
Acrylic Sheet | Röhm GmbH |  | 46.58 | 1 | 4.28 | kgCO2eq/kg |  |  | Sun-Acrylam
Frosted Film | 3M | 3M | 103.01 | 1 | 10.285 | kgCO2eq/m2 |  |  | 3M
Graphic Film | 3M | 3M | 27.5 | 1 | 6.17 | kgCO2eq/m2 |  |  | 3M
Fire Exit Signage | Orlight |  | 10 | 1 | 69.6 | kgCO2eq |  |  | Prolite
Room Signage |  |  | 30 | 1
Washroom Signage |  |  | 3 | 1
Fire Extinguisher Signage | Orlight |  | 12 | 1 | 69.6 | kgCO2eq
Push/Pull Signage |  |  | 16 | 1
Emergency Escape Plan |  |  | 8 | 1
Aluminium Extrusion | Elite Extrusion LLC. |  | 1 | 42.1 | 6.66 | kgCO2eq/kg

## Plumbing
Item | Manufacturer | Model | Number of Units/Qty | Total Area (m2) | Emission Factor | Unit | Description | Source | Manufacturer 2
Polypropylene Pipe | Wavin | 110mm dia | 45 | 5 | 0.81 | kgCO2eq/kg |  |  | Astral
UPVC Pipe | Neproplast | 63 mm | 10 | 2.17 | 4.46 | kgCO2eq/kg |  |  | Supreme
UPVC Pipe | Neproplast | 50 mm | 10 | 1.07 | 4.46 | kgCO2eq/kg |  |  | Supreme
UPVC Pipe | Neproplast | 40 mm | 5 | 1.07 | 4.46 | kgCO2eq/kg |  |  | Supreme
Cement | Ultratech |  | 24 | 1 | 0.996 | kgCO2eq/kg |  |  | Ultratech
Cement | Ultratech |  | 32 | 1 | 0.996 | kgCO2eq/kg |  |  | Ultratech
Floor Trap | Purus AB |  | 12 | 0.12 | 3.17 | kgCO2eq/kg |  |  | Chilly
UPVC Reducing Elbow | Neproplast | 110x63mm | 5 | 0.45 | 4.46 | kgCO2eq/kg |  |  | Supreme
Grating Jali | BG-Graspointner | 110x110 mm | 15 | 0.11 | 7.25 | kgCO2eq/m |  |  | Chilly
PVC clean-out plug |  | 110 mm | 7 | 1
PE-X/A (PEX) Pipe | Pipelife | 16 mm dia | 40 | 0.1 | 3.05 | kgCO2eq/kg |  |  | Astral
PE-X/A (PEX) Pipe | Pipelife | 20mm dia | 20 | 0.116 | 3.05 | kgCO2eq/kg |  |  | Astral
PE-X/A (PEX) Pipe | Pipelife | 25 mm dia | 10 | 0.17 | 3.05 | kgCO2eq/kg |  |  | Astral
PE-X/A (PEX) Pipe | Pipelife | 32 mm dia | 5 | 0.278 | 3.05 | kgCO2eq/kg |  |  | Astral
PE-X/A (PEX) Pipe | Pipelife | 40 mm dia | 5 | 0.429 | 3.05 | kgCO2eq/kg |  |  | Astral
PE-X/A (PEX) Pipe | Pipelife | 16mm dia | 10 | 0.1 | 3.05 | kgCO2eq/kg |  |  | Astral
PE-X/A (PEX) Pipe | Pipelife | 20mm dia | 5 | 0.116 | 3.05 | kgCO2eq/kg |  |  | Astral
PE-X/A (PEX) Pipe | Pipelife | 25mm dia | 5 | 0.17 | 3.05 | kgCO2eq/kg |  |  | Astral
Elastomeric Thermal Insulation | ALP Aeroflex India Pvt. Ltd. | 9mm thk | 15 | 1.441 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt. Ltd.
Elastomeric Thermal Insulation | ALP Aeroflex India Pvt. Ltd. | 9mm thk | 10 | 1.0732 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt. Ltd.
Elastomeric Thermal Insulation | ALP Aeroflex India Pvt. Ltd. | 9mm thk | 5 | 0.607 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt. Ltd.
Elastomeric Thermal Insulation | ALP Aeroflex India Pvt. Ltd. | 9mm thk | 5 | 0.7065 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt. Ltd.
Thermostatic Balancing valve | Vir Valvoindustria Ing. Rizzio Spa |  | 3 | 0.57 | 9.65 | kgCO2eq/kg |  |  | Lehry
Thermostatic Balancing valve | Vir Valvoindustria Ing. Rizzio Spa |  | 2 | 0.7 | 9.65 | kgCO2eq/kg |  |  | Lehry
Brass Ball Valve | LK |  | 4 | 0.152 | 8.33 | kgCO2eq/kg |  |  | Lehry
Brass Ball Valve | LK |  | 2 | 0.23 | 8.33 | kgCO2eq/kg |  |  | Lehry
Brass Ball Valve | LK |  | 2 | 0.4 | 8.33 | kgCO2eq/kg |  |  | Lehry
Brass Ball Valve | LK |  | 1 | 0.55 | 8.33 | kgCO2eq/kg |  |  | Lehry
Brass Ball Valve | LK |  | 1 | 0.6 | 8.33 | kgCO2eq/kg |  |  | Lehry
Butterfly Valve | Georg Fischer Piping Systems Ltd |  | 2 | 3.4 | 0.45 | kgCO2eq/kg
Butterfly Valve | Georg Fischer Piping Systems Ltd |  | 2 | 4 | 8.45 | kgCO2eq/kg
RO |  |  | 2 | 1
Water Closet | Villeroy & Boch AG |  | 7 | 1 | 76.73 | kgCO2eq |  |  | Jaquar
Washbasin Mixer | Eczacıbaşı Yapı Gereçleri San. ve Tic. A.Ş. |  | 5 | 1 | 12.7 | kgCO2eq |  |  | Kohler
Washbasin | Kohler |  | 5 | 1 | 194 | kgCO2eq |  |  | Kohler
Urinal | Kohler |  | 3 | 1 | 128 | kgCO2eq |  |  | Kohler
Cistern Plate | Ideal Standard International NV |  | 7 | 1 | 18.09 | kgCO2eq |  |  | Jaquar
Health Faucet | Hansgrohe |  | 7 | 1 | 5.82 | kgCO2eq |  |  | Jaquar
Soap Dispenser | The Splash Lab |  | 5 | 1 | 34.8 | kgCO2eq |  |  | Euronics
Tissue Paper Dispenser | The Splash Lab |  | 5 | 1.15 | 7.17 | kgCO2eq/kg |  |  | Euronics
Hand Drier | The Splash Lab |  | 5 | 1 | 41 | kgCO2eq |  |  | Euronics
Toilet Paper Holder | The Splash Lab |  | 7 | 1.15 | 7.17 | kgCO2eq/kg |  |  | Euronics
Angle Stop Cock |  |  | 28 | 1 |  |  |  |  | Jaquar
Grating Jali | BG-Graspointner |  | 13 | 0.1 | 7.25 | kgCO2eq/m |  |  | Chilly
Bottle Trap |  |  | 5 | 1 | 7.17 | kgCO2eq |  |  | Jaquar
Click Clack Waste |  |  | 7 | 1 |  |  |  |  | Jaquar
Cisten | Ideal Standard International NV |  | 7 | 1 | 18.09 | kgCO2eq |  |  | Jaquar
Dustbin | Vestre AS |  | 10 | 1 | 229.25 | kgCO2eq
Coat Hooks | Essem Design |  | 8 | 1 | 0.414 | kgCO2eq |  |  | Euronics
Sanitary Napkin Dispenser |  |  | 4 | 1 |  |  |  |  | Euronics
Sanitary Napkin Disposal |  |  | 3 | 1 |  |  |  |  | Euronics
Tissue Paper Dispenser | The Splash Lab |  | 7 | 1.15 | 7.17 | kgCO2eq/kg |  |  | Kimberly Clark
Toilet Seat Dispenser | The Splash Lab |  | 7 | 1.15 | 7.17 | kgCO2eq/kg |  |  | Kimberly Clark
Sink | LAVABO A/S |  | 2 | 7 | 13.3 | kgCO2eq/kg |  |  | Jayna
Sink Mixer | Valfsel |  | 2 | 1.5 | 7.49 | kgCO2eq/kg |  |  | Jaquar
Grab Bar | Construction Specialties |  | 1.2 | 1 | 7.24 | kgCO2eq/ m |  |  | Euronics
RO |  |  | 1 | 1
Drain Pump | Sulzer Pumps Wexford |  | 1 | 3 | 1713.6 | kgCO2eq/ KW |  |  | SFA
Air Purifier | Camfi |  | 3 | 1 | 41.8 | kgCO2eq |  |  | Wellisair
CPVC Pipe | New Product Industries | 100mm dia | 50 | 11.78 | 4.46 | kgCO2eq/kg |  |  | Supreme
Geyser | OSO Hotwater AS | 25 l | 2 |  | 104 | kgCO2eq
Geyser | OSO Hotwater AS | 50 l | 2 |  | 104 | kgCO2eq

## Electrical
Item | Manufacturer | Model | Number of Units/Qty | Total Area (m2) | Emission Factor | Unit | Description | Source | Manufacturer 2
Switch | Schneider | 6 amp | 80 | 1 | 0.748 | kgCO2eq |  |  | Legrand
3x1.5 sqmm FRLS copper conductor Wire | B-Cables |  | 80 | 3 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 25 mm dia | 80 | 8.91 | 1.57 | KgCO2eq/kg |  |  | BEC
GI Box | Tata Steel Limited |  | 80 | 0.15 | 2.859 | kgCO2eq/ kg |  |  | BEC
3x1.5 sqmm FRLS copper conductor Wire | B-Cables |  | 112 | 30 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 25 mm dia | 112 | 8.91 | 1.57 | KgCO2eq/kg |  |  | BEC
3x1.5 sqmm FRLS copper conductor Wire | B-Cables |  | 40 | 3 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 32 mm dia | 40 | 11.52 | 1.57 | KgCO2eq/kg |  |  | BEC
3x1.5 sqmm FRLS copper conductor Wire | B-Cables |  | 320 | 3 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 25 mm dia | 320 | 8.91 | 1.57 | KgCO2eq/kg |  |  | BEC
Plug Outlet | Schneider | 6 amp | 24 | 1 | 0.478 | kgCO2eq |  |  | Legrand
2.5 sqmm FRLS copper conductor wire | B-Cables |  | 24 | 3 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 20 mm dia | 72 | 1.9 | 1.57 | KgCO2eq/kg |  |  | BEC
Socket | Schneider | 6 amp | 24 | 1 | 0.478 | kgCO2eq |  |  | Legrand
GI Box | Tata Steel Limited |  | 24 | 0.15 | 2.859 | KgCO2eq/kg |  |  | BEC
Switch Cover Plate | Schneider |  | 24 | 1 | 0.971 | kgCO2eq |  |  | Legrand
Plug Outlet | ABB | 6/16 amp | 1 | 1 | 0.584 | kgCO2eq |  |  | Legrand
2.5 sqmm FRLS copper conductor wire | B-Cables |  | 72 | 8.91 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 25 mm dia | 72 | 8.91 | 1.57 | KgCO2eq/kg |  |  | BEC
Socket | ABB | 16 amp | 72 | 1 | 0.584 | kgCO2eq |  |  | Legrand
GI Box | Tata Steel Limited |  | 72 | 0.15 | 2.859 | kgCO2eq/ kg |  |  | BEC
Switch Cover Plate | Schneider |  | 72 | 1 | 0.971 | kgCO2eq |  |  | Legrand
2x2.5 sqmm FRLS copper conductor Wire | B-Cables |  | 7 | 3 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 25 mm dia | 7 | 8.91 | 1.57 | KgCO2eq/kg |  |  | BEC
GI Box | Tata Steel Limited |  | 7 | 0.4 | 2.859 | kgCO2eq/ kg |  |  | BEC
Switch | ABB | 16 amp | 7 | 1 | 11.7 | kgCO2eq |  |  | Legrand
Switch Cover Plate | Schneider |  | 7 | 1 | 0.971 | kgCO2eq |  |  | Legrand
Socket | ABB | 16 amp | 4 | 1 | 0.584 | kgCO2eq |  |  | Legrand
2x4 sqmm FRLS copper conductor Wire | B-Cables |  | 4 | 3 | 0.583 | kgCO2eq/m |  |  | Polycab
1x2.5 sqmm FRLS copper conductor Wire | B-Cables |  | 4 | 2 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 32 mm dia | 4 | 23.04 | 1.57 | KgCO2eq/kg |  |  | BEC
Switch | ABB | 16 amp | 1 | 1 | 11.7 | kgCO2eq |  |  | Legrand
Socket | ABB | 16 amp | 1 | 1 | 0.584 | kgCO2eq |  |  | Legrand
GI Box | Tata Steel Limited |  | 4 | 0.4 | 2.859 | kgCO2eq/ kg |  |  | BEC
Socket Outlet | ABB | 16 amp | 1 | 1 | 0.584 | kgCO2eq |  |  | Legrand
Switch | Schneider | 6 amp | 8 | 1 | 0.748 | kgCO2eq |  |  | Legrand
3x2.5 sqmm FRLS copper conductor Wire | B-Cables |  | 8 | 3 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 25 mm dia | 8 | 8.91 | 1.57 | KgCO2eq/kg |  |  | BEC
Socket | ABB | 16 amp | 1 | 1 | 0.584 | kgCO2eq |  |  | Legrand
GI Box | Tata Steel Limited |  | 8 | 0.4 | 2.859 | kgCO2eq/ kg |  |  | BEC
Socket Outlet | ABB | 16 amp | 1 | 1 | 0.584 | kgCO2eq |  |  | Legrand
Plug Outlet | Schneider | 6 amp | 1 | 1 | 0.478 | kgCO2eq |  |  | Legrand
3x2.5 sqmm FRLS copper conductor Wire | B-Cables |  | 40 | 3 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 25 mm dia | 40 | 8.91 | 1.57 | KgCO2eq/kg |  |  | BEC
Socket | Schneider | 6 amp | 1 | 1 | 0.478 | kgCO2eq |  |  | Legrand
Switch | Schneider | 6 amp | 1 | 1 | 0.748 | kgCO2eq |  |  | Legrand
Switch Cover Plate | Schneider |  | 1 | 1 | 0.971 | kgCO2eq |  |  | Legrand
GI Box | Tata Steel Limited |  | 40 | 0.15 | 2.859 | kgCO2eq/ kg |  |  | BEC
1x1.5 sqmm FRLS copper conductor Wire | B-Cables |  | 3 | 3 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 25 mm dia | 3 | 8.91 | 1.57 | KgCO2eq/kg |  |  | BEC
GI Box | Tata Steel Limited |  | 3 | 0.4 | 2.859 | KgCO2eq/kg |  |  | BEC
Plug Outlet | ABB | 16 amp | 1 | 1 | 0.584 | kgCO2eq |  |  | Legrand
4 sqmm FRLS copper conductor Wire | B-Cables |  | 16 | 3 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 32 mm dia | 16 | 11.52 | 1.57 | KgCO2eq/kg |  |  | BEC
Switch | ABB | 16 amp | 1 | 1 | 11.7 | kgCO2eq |  |  | Legrand
Socket | ABB | 6 pin | 1 | 1 | 0.584 | kgCO2eq |  |  | Legrand
Switch Cover Plate | Schneider |  | 1 | 1 | 0.971 | kgCO2eq |  |  | Legrand
GI Box | Tata Steel Limited |  | 1 | 0.4 | 2.859 | kgCO2eq/ kg |  |  | BEC
4 sqmm FRLS copper conductor Wire | B-Cables |  | 7 | 3 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 32 mm dia | 7 | 11.52 | 1.57 | KgCO2eq/kg |  |  | BEC
Socket | Schneider | 25 amp | 7 | 1 | 1.65 | kgCO2eq |  |  | Legrand
SP MCB | Schneider | 25 A | 7 | 1 | 0.798 | kgCO2eq |  |  | Legrand
GI Box | Tata Steel Limited |  | 7 | 0.4 | 2.859 | kgCO2eq/ kg |  |  | BEC
3c x 2.5 sqmm FRLS & PVC Sheated flexible cable | B-Cables |  | 1 | 4000 | 0.583 | kgCO2eq/m |  |  | Polycab
3c x 4 sqmm FRLS & PVC Sheated flexible cable | B-Cables |  | 1 | 960 | 0.583 | kgCO2eq/m |  |  | Polycab
3c x 6 sqmm FRLS & PVC Sheated flexible cable | B-Cables |  | 1 | 160 | 0.583 | kgCO2eq/m |  |  | Polycab
Socket | ABB | 16 amp | 45 | 1 | 0.584 | kgCO2eq |  |  | Legrand
Switch Cover Plate | Schneider |  | 45 | 1 | 0.971 | kgCO2eq |  |  | Legrand
GI Box | Tata Steel Limited |  | 45 | 0.15 | 2.859 | kgCO2eq/ kg |  |  | BEC
GI Box | Tata Steel Limited |  | 216 | 0.15 | 2.859 | kgCO2eq/ kg |  |  | BEC
Socket | ABB | 16 amp | 216 | 1 | 0.584 | kgCO2eq |  |  | Legrand
Switch Cover Plate | Schneider |  | 216 | 1 | 0.971 | kgCO2eq |  |  | Legrand
Socket | Schneider | 21 amp | 136 | 1 | 1.65 | kgCO2eq |  |  | Legrand
Socket | ABB | 16 amp | 120 | 1 | 0.584 | kgCO2eq |  |  | Legrand
Switch | ABB | 16 amp | 120 | 1 | 11.7 | kgCO2eq |  |  | Legrand
Industrial Socket | Schneider | 16/20 A | 4 | 1 | 1.65 | kgCO2eq |  |  | Legrand
Industrial Socket | Schneider | 32 amp | 7 | 1 | 1.65 | kgCO2eq |  |  | Legrand
2c x 1.5 sqmm FRLS & PVC Sheated flexible cable | B-Cables |  | 1 | 1440 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 25 mm dia | 800 | 2.95 | 1.57 | KgCO2eq/kg |  |  | BEC
MS Conduit | Shri Bajrang Power and Ispat Limited | 32 mm dia | 280 | 3.84 | 1.57 | KgCO2eq/kg |  |  | BEC
MS Conduit | Shri Bajrang Power and Ispat Limited | 25 mm dia | 1888 | 2.95 | 1.57 | KgCO2eq/kg |  |  | BEC
MS Conduit | Shri Bajrang Power and Ispat Limited | 32 mm dia | 320 | 3.84 | 1.57 | KgCO2eq/kg |  |  | BEC
GI Box | Tata Steel Limited |  | 40 | 0.15 | 2.859 | kgCO2eq/ kg |  |  | BEC
RG 11 TV Coaxial Socket | Schneider |  | 13 | 1 | 1.65 | kgCO2eq |  |  | Polycab
Cover plate | Schneider |  | 13 | 1 | 0.971 | kgCO2eq |  |  | Legrand
TV Coaxial Cable | cables com |  | 480 | 1 | 0.254 | kgCO2eq/ m |  |  | Polycab
GI Tape | Jindal | 25 x6 mm | 350 | 1.197 | 5.01 | kgCO2eq/ kg |  |  | Shivshakti group
Copper Wire (8 SWG) | Saint-Gobain |  | 200 | 0.11 | 2.66 | kgCO2eq/ kg |  |  | Poycab
1c x16 sqmm FRLS PVC insulated copper conductor cable | B-Cables |  | 1 | 500 | 0.583 | kgCO2eq/m |  |  | Polycab
1c x35 sqmm FRLS PVC insulated copper conductor cable | B-Cables |  | 1 | 400 | 0.583 | kgCO2eq/m |  |  | Polycab
1c x10 sqmm FRLS PVC insulated copper conductor cable | B-Cables |  | 1 | 100 | 0.583 | kgCO2eq/m |  |  | Polycab
1c x6 sqmm FRLS PVC insulated copper conductor cable | B-Cables |  | 1 | 400 | 0.583 | kgCO2eq/m |  |  | Polycab
Earthing |  |  | 4 | 1 |  |  |  |  | Schneider
Earth DB | Schneider |  | 2 | 1 | 71.3 | kgCO2eq |  |  | Legrand
Earth Bar |  | 32 x 6mm | 2 | 1
PVC Pipe |  |  | 1 | 50
4c x25 sqmm FRLS XLPE insulated aluminium conductor cable | B-Cables |  | 1 | 360 | 0.583 | kgCO2eq/m |  |  | Polycab
4c x 16 sqmm FRLS XLPE insulated copper conductor cable | B-Cables |  | 1 | 400 | 0.583 | kgCO2eq/m |  |  | Polycab
4c x10 sqmm FRLS XLPE insulated copper conductor cable | B-Cables |  | 1 | 96 | 0.583 | kgCO2eq/m |  |  | Polycab
4c x6 sqmmFRLS XLPE insulated copper conductor cable | B-Cables |  | 1 | 128 | 0.583 | kgCO2eq/m |  |  | Polycab
3c x 6 sqmm FRLS XLPE insulated copper conductor cable | B-Cables |  | 1 | 320 | 0.583 | kgCO2eq/m |  |  | Polycab
1c x16 sqmm FRLS PVC insulated flexible copper conductor cables | B-Cables |  | 1 | 480 | 0.583 | kgCO2eq/m |  |  | Polycab
Ceiling Raceway | CommScope |  | 1 | 120 | 17.3 | kgCO2eq/m |  |  | BEC
Raceway | CommScope |  | 1 | 136 | 17.3 | kgCO2eq/m |  |  | BEC
Junction Box | ABB |  | 20 | 1 | 0.1346 | kgCO2eq |  |  | JS Box
Junction Box | ABB |  | 20 | 1 | 0.1346 | kgCO2eq |  |  | JS Box
Junction Box | ABB |  | 56 | 1 | 0.1346 | kgCO2eq |  |  | JS Box
Raceway | CommScope |  | 1 | 56 | 17.3 | kgCO2eq/m |  |  | BEC
Raceway | CommScope |  | 1 | 36 | 17.3 | kgCO2eq/m |  |  | BEC
Raceway | CommScope |  | 1 | 72 | 17.3 | kgCO2eq/m |  |  | BEC
Raceway | CommScope |  | 1 | 392 | 17.3 | kgCO2eq/m |  |  | BEC
Junction Box | ABB |  | 23 | 1 | 0.1346 | kgCO2eq |  |  | JS Box
Junction Box | ABB |  | 8 | 1 | 0.1346 | kgCO2eq |  |  | JS Box
Junction Box | ABB |  | 36 | 1 | 0.1346 | kgCO2eq |  |  | JS Box
Junction Box | ABB |  | 88 | 1 | 0.1346 | kgCO2eq |  |  | JS Box
Junction Box | ABB |  | 96 | 1 | 0.1346 | kgCO2eq |  |  | JS Box
Junction Box | ABB |  | 40 | 1 | 0.1346 | kgCO2eq |  |  | BEC
Cable Tray | PEMSA CABLE MANAGEMENT |  | 5.024 | 240 | 3.23 | kgCO2eq/kg |  |  | BEC
Cable Tray | PEMSA CABLE MANAGEMENT |  | 8.792 | 136 | 3.23 | kgCO2eq/kg |  |  | BEC
Cable Tray | PEMSA CABLE MANAGEMENT |  | 12.56 | 32 | 3.23 | kgCO2eq/kg |  |  | BEC
Cable Tray | PEMSA CABLE MANAGEMENT |  | 16.485 | 32 | 3.23 | kgCO2eq/kg |  |  | BEC
TPN DB | schneider | 6 way | 4 | 1 | 71.3 | kgCO2eq |  |  | Legrand
SP MCB | Schneider | 10/20 amp | 4 | 1 | 0.798 | kgCO2eq |  |  | Legrand
DP RCCB | Schneider |  | 1 | 1 | 4 | kgCO2eq |  |  | Legrand
MCB | Schneider | 4 pole | 1 | 1 | 0.85 | kgCO2eq |  |  | Legrand
TPN DB | schneider | 10 way | 7 | 1 | 71.3 | kgCO2eq |  |  | Legrand
SP MCB | Schneider | 10/20 Amp | 8 | 1 | 0.798 | kgCO2eq |  |  | Legrand
DP RCCB | Schneider | 30mA 63 Amp | 1 | 1 | 4 | kgCO2eq |  |  | Legrand
MCB | Schneider | 63 Amp 4 pole | 1 | 1 | 0.85 | kgCO2eq |  |  | Legrand
TPN DB | schneider | 14 way | 5 | 1 | 71.3 | kgCO2eq |  |  | Legrand
SP MCB | Schneider | 10/20 Amp | 8 | 1 | 0.798 | kgCO2eq |  |  | Legrand
DP RCCB | Schneider | 30mA 63 Amp | 1 | 1 | 4 | kgCO2eq |  |  | Legrand
MCB | Schneider | 4 pole 63 Amp | 1 | 1 | 0.85 | kgCO2eq |  |  | Legrand
TPN DB | schneider | 10 way | 4 | 1 | 71.3 | kgCO2eq |  |  | Legrand
DP MCB | Schneider | 32 Amp | 3 | 1 | 0.798 | kgCO2eq |  |  | Legrand
DP RCCB | Schneider | 30mA 63 Amp | 1 | 1 | 4 | kgCO2eq |  |  | Legrand
MCB | Schneider | 63 Amp 4 pole | 1 | 1 | 0.85 | kgCO2eq |  |  | Legrand
SPN DB | Schneider | 12 way | 4 | 1 | 71.3 | kgCO2eq |  |  | Legrand
SP MCB | Schneider | 10/20 Amp | 8 | 1 | 0.798 | kgCO2eq |  |  | Legrand
DP RCCB | Schneider | 100 mA 40 Amp | 1 | 1 | 4 | kgCO2eq |  |  | Legrand
DP MCB | Schneider | 40 Amp | 1 | 1 | 0.798 | kgCO2eq |  |  | Legrand
Electrical Insulating Mat |  |  | 1 | 8
Shock Treatment Chart |  |  | 1 | 1
Danger Notice Board |  |  | 8 | 1
SLD Chart |  |  | 1 | 1
First aid box |  |  | 1 | 1
COB Downlight | Orlight Ltd |  | 320 | 1 | 0.491 | kgCO2eq |  |  | Neio
LED Strip Light | Shenzhen Clear Lighting Co., Ltd. |  | 1 | 160 | 21.25 | kgCO2eq/m
Linear Suspended Light | Orlight |  | 96 | 1 | 2.71 | kgCO2eq
Cylindrical Downlight | Orlight Ltd |  | 96 | 1 | 0.491 | kgCO2eq
Decorative Light |  |  | 48 | 1
Strip Light | Shenzhen Clear Lighting Co., Ltd. |  | 1 | 8 | 21.25 | kgCO2eq/m
Fire Exit Signage | Orlight |  | 13 | 1 | 69.6 | kgCO2eq |  |  | Prolite
Linear Suspended Light | LPA Energy group |  | 45 | 1 | 128 | kgCO2eq
Linear Suspended Light | LPA Energy group |  | 12 | 1 | 128 | kgCO2eq
Pendant Light | Signify N.V |  | 60 | 1 | 26.3 | kgCO2eq
COB Downlight | LPA Energy group |  | 120 | 1 | 18.4 | kgCO2eq
COB Downlight | LPA Energy group |  | 80 | 1 | 18.4 | kgCO2eq
Ring light | XAL GmbH |  | 3 | 1 | 59.6 | kgCO2eq
Strip Light | Shenzhen Clear Lighting Co., Ltd. |  | 100 | 1 | 21.25 | kgCO2eq/m
LED light Driver |  |  | 25 | 1
Strip LED Light | Shenzhen Clear Lighting Co., Ltd. |  | 10 | 1 | 21.25 | kgCO2eq/m
Ceiling Light |  |  | 1
Designer Light |  |  | 1
Designer Light |  |  | 2
Ceiling Light |  |  | 1
Ceiling Light |  |  | 1
Water Leak Sensor cable |  |  | 40 | 1
Transducers |  |  | 8 | 1
2c x 14/40 SWG Copper Cable wire | B-Cables |  | 50 | 1 | 0.583 | kgCO2eq/m |  |  | Polycab
MS Conduit | Shri Bajrang Power and Ispat Limited | 25 mm dia | 147.5 | 1 | 1.57 | KgCO2eq./kg |  |  | BEC
Fire Survival cable | Specialcavi Baldassari | 2 x 1.5 sq mm | 660 | 1 | 14.3 | kgCO2eq/m |  |  | Polycab
4c x 6 sqmm Armoured copper XLPE Cable | ElSewedy Cables |  | 10 | 1 | 5.41 | kgCO2eq/m |  |  | Polycab
4c x 16 sqmm Armoured copper XLPE Cable | ElSewedy Cables |  | 15 | 1 | 5.41 | kgCO2eq/m |  |  | Polycab
3c x 1.5 sqmm copper conductor shield cable | Swanco |  | 1 | 30 | 5.41 | kgCO2eq/m |  |  | Polycab
2c x 1.5 sqmm copper conductor shield cable | Swanco |  | 1 | 600 | 5.41 | kgCO2eq/m |  |  | Polycab
Cable Tray | PEMSA CABLE MANAGEMENT |  | 439.6 | 1 | 3.23 | kgCO2eq/kg |  |  | BEC
Cable Tray | PEMSA CABLE MANAGEMENT |  | 251.2 | 1 | 3.23 | kgCO2eq/kg |  |  | BEC

## Fire Safety & Security
Item | Manufacturer | Model | Number of Units/Qty | Total Area (m2) | Emission Factor | Unit | Description | Source | Manufacturer 2
Pendant Sprinkler | Reliable |  | 134 | 1 | 2.01 | kgCO2eq |  |  | Tyco
Upright Sprinkler | Reliable |  | 56 | 1 | 1.24 | kgCO2eq |  |  | Tyco
Sidewall Sprinkler | Reliable |  | 39 | 1 | 1.79 | kgCO2eq |  |  | Tyco
Rossette plate |  |  | 134 | 1 |  |  |  |  | Tyco
Unbraided Flexible Pipe | Saint-Gobain Building Distribution |  | 120 | 1 | 1.7 | kgCO2eq |  |  | Tyco
MS Pipe | Surya | 25 mm dia | 150 | 2.97 | 3.07 | kgCO2eq/kg |  |  | Jindal
MS Pipe | Surya | 32 mm dia | 42 | 3.84 | 3.07 | kgCO2eq/kg |  |  | Jindal
MS Pipe | Surya | 40 mm dia | 76 | 4.43 | 3.07 | kgCO2eq/kg |  |  | Jindal
MS Pipe | Surya | 50 mm dia | 76 | 6.17 | 3.07 | kgCO2eq/kg |  |  | Jindal
MS Pipe | Surya | 65 mm dia | 12 | 7.9 | 3.07 | kgCO2eq/kg |  |  | Jindal
MS Pipe | Surya | 80 mm dia | 12 | 10.1 | 3.07 | kgCO2eq/kg |  |  | Jindal
MS Pipe | Surya | 100 mm dia | 25 | 14.4 | 3.07 | kgCO2eq/kg |  |  | Jindal
MS Pipe | Surya | 150mm dia | 30 | 21.2 | 3.07 | kgCO2eq/kg |  |  | Jindal
MS Pipe | Surya | 150mm dia | 12 | 21.2 | 3.07 | kgCO2eq/kg |  |  | Jindal
Brass Ball Valve | Castel | 40 mm dia | 2 | 1 | 3.81 | kgCO2eq |  |  | Lehry
MS Pipe | Surya | 50mm dia | 10 | 12.34 | 3.07 | kgCO2eq/kg |  |  | Jindal
MS Pipe | Surya | 65mm dia | 10 | 7.9 | 3.07 | kgCO2eq/kg |  |  | Jindal
MS Pipe | Surya | 150mm dia | 10 | 21.2 | 3.07 | kgCO2eq/kg |  |  | Jindal
Redoxide Paint |  |  | 1 | 1
Enamel Paint | Vechro |  | 1 | 1 | 4.18 | kgCO2eq/kg |  |  | Asian
Fire Extinguisher | Housegard | Fe-36 | 8 | 1 | 21.3 | kgCO2eq |  |  | Kanex
Fire Extinguisher | Housegard | CO2 | 4 | 1 | 21.3 | kgCO2eq |  |  | Kanex
Fire Extinguisher | Housegard | K-Type | 2 | 1 | 21.3 | kgCO2eq |  |  | Kanex
Modular Fire Extinguisher | Housegard |  | 4 | 1 | 21.3 | kgCO2eq |  |  | Kanex
Fire Extinguisher Stand |  |  | 14 | 1 |  |  |  |  | Kanex
Fire Alarm Panel |  |  | 1 | 1
Smoke Detector | TROX |  | 40 | 1 | 29.4 | kgCO2eq |  |  | Honeywell
Heat Detector | TROX |  | 51 | 1 | 29.4 | kgCO2eq |  |  | Honeywell
Monitor Module |  |  | 3 | 1
Control Module | ABB |  | 3 | 1 | 104.87 | kgCO2eq |  |  | Honeywell
Relay Module | ABB |  | 5 | 1 | 116.34 | kgCO2eq |  |  | Honeywell
Isolator Module |  |  | 5 | 1
Manual Call Point (MCP) |  |  | 3 | 1 |  |  |  |  | Honeywell
Strobe |  |  | 3 | 1 |  |  |  |  | Honeywell
Response Indicator |  |  | 40 | 1 |  |  |  |  | Honeywell
MS Box | Jindal |  | 75 | 0.15 | 3.26 | kgCO2eq/kg |  |  | BEC
2 x 1.5 sqmm Fire Survival cable | Specialcavi Baldassari |  | 1331 | 1 | 14.3 | kgCO2eq/m |  |  | Polycab
Handicaped Toilet Alarm System |  |  | 1 | 1
Hydrogen Gas Detector |  |  | 1 | 1
Equipment Rack |  |  | 1 | 1
Voice Alarm Controller |  |  | 1 | 1
Amplifier | [8 empty] | Bosch
Amplifier |  |  | 1 | 1 |  |  |  |  | Bosch
IP Call Station |  |  | 1 | 1 |  |  |  |  | Bosch
Speaker | Bticino |  | 40 | 1 | 3.06 | kgCO2eq |  |  | Honeywell
Speaker | Bticino |  | 15 | 1 | 3.06 | kgCO2eq |  |  | Honeywell
Water Leak Detection System |  |  | 1 | 1
Hooter For Water Leakage |  |  | 1 | 1 |  |  |  |  | Honeywell
Rodent Repellent System |  |  | 1 | 1

## HVAC
Item | Manufacturer | Model | Number of Units/Qty | Total Area (m2) | Emission Factor | Unit | Description | Source | Manufacturer 2
Inline Fan | S&P |  | 1 | 1 | 33.7 | kgCO2eq |  |  | Ostberg
Inline Fan | S&P |  | 1 | 1 | 33.7 | kgCO2eq |  |  | Ostberg
Hydrogen Sensor |  |  | 1 | 1
GI Sheet | Jindal |  | 53.75 | 12.85 | 2.76 | KgCO2eq/kg |  |  | Jindal
GI Sheet | Jindal |  | 13.44 | 14.72 | 2.76 | KgCO2eq/kg |  |  | Jindal
GI Sheet | Jindal |  | 6.72 | 18.69 | 2.76 | KgCO2eq/kg |  |  | Jindal
GI Sheet | Jindal |  | 13.44 | 14.72 | 2.76 | KgCO2eq/kg |  |  | Jindal
GI Sheet | Jindal |  | 1.68 | 18.69 | 2.76 | KgCO2eq/kg |  |  | Jindal
Nitrile Rubber Insulation | ALP Aeroflex India Pvt LTD | Open Cell | 1 | 295.43 | 4.43 | KgCO2eq/kg |  |  | ALP Aeroflex India Pvt LTD
GI Sheet | Jindal |  | 80.62 | 23.37 | 2.76 | KgCO2eq/kg |  |  | Jindal
Air Transfer Grill | TROX |  | 31.25 | 1 | 13.6 | kgCO2eq |  |  | RG Air System
Supply Air Grill | Koolair SL |  | 48 | 0.7 | 7.24 | KgCO2eq/kg |  |  | RG Air System
3/2 slot Aluminium Diffuser | Koolair SL |  | 229.33 | 1.2 | 7.24 | KgCO2eq/kg |  |  | RG Air System
Volume Control Damper | Systemair |  | 38.89 | 1 | 2.99 | kgCO2eq |  |  | Honeywell
Volume Control Damper | Systemair |  | 27.16 | 1 | 2.99 | kgCO2eq |  |  | RG Air System
Aluminium Louver | Koolair SL |  | 1 | 5.51 | 7.24 | KgCO2eq/kg |  |  | RG Air System
Fire Damper | Bevent Rasch |  | 12.44 | 1 | 12.9 | kgCO2eq |  |  | RG Air System
Actuator | Belimo |  | 15 | 1 | 2.06 | kgCO2eq |  |  | Belimo
Flexible Duct | JINAN MEIDE CASTING CO., LTD. | 250 mm | 32.19 | 1 | 0.67 | KgCO2eq/m2 |  |  | UP Twiga
Flexible Duct | JINAN MEIDE CASTING CO., LTD. | 200 mm | 13.19 | 1 | 0.67 | KgCO2eq/m2 |  |  | UP Twiga
Flexible Duct | JINAN MEIDE CASTING CO., LTD. | 150 mm | 13.19 | 1 | 0.67 | KgCO2eq/m2 |  |  | UP Twiga
GI Spigot |  | 250 mm | 60 | 0.5 |  |  |  |  | Jindal
GI Spigot |  | 200 mm | 20 | 0.45 |  |  |  |  | Jindal
GI Spigot |  | 150 mm | 22 | 0.35 |  |  |  |  | Jindal
Butterfly Damper | Swegon |  | 15 | 2.1 | 4.13 | kgCO2eq/kg |  |  | RG Air System
Volume Control Damper | Systemair |  | 15.28 | 1 | 2.99 | kgCO2eq |  |  | RG Air System
Nitrile Rubber Insulation | ALP Aeroflex India Pvt LTD | Open Cell | 128 | 1 | 4.43 | KgCO2eq/kg |  |  | ALP Aeroflex India Pvt LTD
Elastomeric Nitrile Rubber Insulation | ALP Aeroflex India Pvt LTD | Closed Cell | 299 | 1 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt LTD
Fibreglass Board | Insulation Institute |  | 1 | 80 | 5.02 | kgCO2/m2 |  |  | USG Knauf
Variable Air Volume Box | Systemair |  | 14 | 1 | 307 | kgCO2eq |  |  | Honeywell
Variable Air Volume Box | Systemair |  | 1 | 1 | 307 | kgCO2eq |  |  | Honeywell
Variable Air Volume Box | Systemair |  | 1 | 1 | 307 | kgCO2eq |  |  | Honeywell
Duct Pressure Sensor |  |  | 2 | 1
VRF Outdoor Unit | Daikin |  | 1 | 10 | 73.4 | kgCO2eq/kW |  |  | Daikin
VRF Outdoor Unit | Daikin |  | 1 | 4.44 | 73.4 | kgCO2eq/kW |  |  | Daikin
VRF Indoor Unit | Daikin |  | 4 | 5.05 | 176 | kgCO2eq/kW |  |  | Daikin
Cassette Unit | Daikin | 4 way | 2 | 7.89 | 154 | kgCO2eq/kW |  |  | Daikin
Indoor Unit (Ductable Type) | Daikin |  | 1 | 14.36 | 176 | kgCO2eq/kW |  |  | Daikin
Refnet Joints (Y- Joints) |  |  | 6 | 1
Remotes for Indoor Unit |  |  | 7 | 1
Duty Cycling Control Panel |  |  | 2 | 1
Outdoor Unit | Daikin |  | 1 | 10 | 73.4 | kgCO2eq/kW |  |  | Daikin
Outdoor Unit | Daikin |  | 1 | 4.44 | 73.4 | kgCO2eq/kW |  |  | Daikin
Cassette Unit | Daikin |  | 2 | 7.89 | 83.9 | kgCO2eq/kW |  |  | Daikin
Indoor Unit | Daikin |  | 4 | 5.05 | 176 | kgCO2eq/kW |  |  | Daikin
Indoor Unit (Ductable Type) | Daikin |  | 1 | 14.36 | 176 | kgCO2eq/kW |  |  | Daikin
Refnet Joints |  |  | 6 | 1
Copper Refrigerant Pipe | Saint Gobain |  | 40 | 1.15 | 2.66 | kgCO2eq/kg |  |  | Rajco
Elastomeric Nitrile Rubber Insulation | ALP Aeroflex India Pvt LTD | Closed Cell 19mm | 1 | 31.46 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt LTD
Copper Refrigerant Pipe | Saint Gobain |  | 40 | 0.77 | 2.66 | kgCO2eq/kg |  |  | Rajco
Elastomeric Nitrile Rubber Insulation | ALP Aeroflex India Pvt LTD | Closed Cell 19mm | 1 | 15.89 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt LTD
Copper Refrigerant Pipe | Saint Gobain |  | 55 | 0.48 | 2.66 | kgCO2eq/kg |  |  | Rajco
Elastomeric Nitrile Rubber Insulation | ALP Aeroflex India Pvt LTD | Closed Cell 19mm | 1 | 6.76 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt LTD
Copper Refrigerant Pipe | Saint Gobain |  | 70 | 0.51 | 2.66 | kgCO2eq/kg |  |  | Rajco
Elastomeric Nitrile Rubber Insulation | ALP Aeroflex India Pvt LTD | Closed Cell 19mm | 70 | 0.45 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt LTD
Copper Refrigerant Pipe | Saint Gobain |  | 40 | 0.41 | 2.66 | kgCO2eq/kg |  |  | Rajco
Elastomeric Nitrile Rubber Insulation | ALP Aeroflex India Pvt LTD | Closed Cell 19mm | 40 | 0.42 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt LTD
Copper Refrigerant Pipe | Saint Gobain |  | 45 | 0.27 | 2.66 | kgCO2eq/kg |  |  | Rajco
Elastomeric Nitrile Rubber Insulation | ALP Aeroflex India Pvt LTD | Closed Cell 19mm | 45 | 0.38 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt LTD
Copper Refrigerant Pipe | Saint Gobain |  | 80 | 0.2 | 2.66 | kgCO2eq/kg |  |  | Rajco
Elastomeric Nitrile Rubber Insulation | ALP Aeroflex India Pvt LTD | Closed Cell 13mm | 80 | 0.18 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt LTD
Copper Refrigerant Pipe | Saint Gobain |  | 40 | 0.13 | 2.66 | kgCO2eq/kg |  |  | Rajco
Elastomeric Nitrile Rubber Insulation | ALP Aeroflex India Pvt LTD | Closed Cell 13mm | 40 | 0.16 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt LTD
CPVC Pipe | Neproplast |  | 70 | 7.36 | 4.46 | kgCO2eq/kg |  |  | Supreme
Closed Cell Elastomeric Nitrile Rubber Insulation | ALP Aeroflex India Pvt LTD | 9mm thk | 70 | 0.23 | 4.43 | kgCO2eq/kg |  |  | ALP Aeroflex India Pvt LTD
4c x 6 sqmm Armoured copper XLPE Cable | ElSewedy Cables |  | 10 | 1 | 5.41 | kgCO2eq/m |  |  | Polycab
4c x 16 sqmm Armoured copper XLPE Cable | ElSewedy Cables |  | 15 | 1 | 5.41 | kgCO2eq/m |  |  | Polycab
Duty Cycling Control Panel |  |  | 1 | 2